## Slide 1
Study the glossary below to learn the construction jargon needed for this task. Then use the image handout sheets that follow to complete the quality inspection form as a site manager.
Developing Experts Copyright 2026 All Rights Reserved
VWE: Morgan Sindall Construction – Day 3
Handout 3 – Inspecting work on site
Glossary
BG screw – A type of screw manufactured by British Gypsum.
British Gypsum (BG) – A company that manufactures plaster, plasterboard, and other building materials widely used in the UK construction industry.
Builders’ work holes – Openings left in walls, floors, or ceilings during construction to allow pipes or cables to pass through.
Fire line board – A fire-resistant board, often made from gypsum, that helps prevent the spread of fire in walls or ceilings.
Fixing centre - The distance between each fixing point, such as screws, when attaching a material to a surface or frame.
Fixing type – The method or kind of fastener used to attach a material, such as screws, nails, or adhesives.
Gypsum – A soft, white or grey mineral made of calcium sulphate, commonly used to make plaster, plasterboard, and cement.
Insulation – Material used in walls, floors, or ceilings to reduce heat transfer, sound, or vibration, making buildings more energy-efficient.
Mastic – A thick adhesive or sealant used in construction to stick materials together or to seal joints and gaps.
Screw – A type of fastener used to join materials together, commonly used to fix boards to studs or metal frameworks.
Stud centre – The distance between the centres of two vertical studs in a wall or partition, which determines how strong the wall is and how panels are fixed.

## Slide 2
Developing Experts Copyright 2026 All Rights Reserved
VWE: Morgan Sindall Construction – Day 3
Handout 3 – Inspecting work on site

## Slide 3
Developing Experts Copyright 2026 All Rights Reserved
VWE: Morgan Sindall Construction – Day 3
Handout 3 – Inspecting work on site

## Slide 4
Developing Experts Copyright 2026 All Rights Reserved
VWE: Morgan Sindall Construction – Day 3
Handout 3 – Inspecting work on site

## Slide 5
Developing Experts Copyright 2026 All Rights Reserved
VWE: Morgan Sindall Construction – Day 3
Handout 3 – Inspecting work on site
Quality inspection form
Project name: ________________________________
Inspector name: ________________________________
Area/room inspected: ________________________________
Stud and framing
Are studs set out at the correct centres of 2cm (with 10mm flexibility)?
☐ Yes ☐ No ☐ N/A
Comments: ________________________________________________
Fixings and materials
Is the correct fixing type (BG 41mm Jack-Point screws) used?
☐ Yes ☐ No ☐ N/A
Comments: ________________________________________________
Are the correct screws properly and securely installed?
☐ Yes ☐ No ☐ N/A
Comments: ________________________________________________
Do the installed fixing centres comply with the specified spacing requirements of 35cm?
☐ Yes ☐ No ☐ N/A
Comments: ________________________________________________
Fire line board
Are there three fire line boards installed within one wall?
☐ Yes ☐ No ☐ N/A
Comments: ________________________________________________
Use the images to complete the quality inspection form.

## Slide 6
Developing Experts Copyright 2026 All Rights Reserved
VWE: Morgan Sindall Construction – Day 3
Handout 3 – Inspecting work on site
Services and openings
Are there two square and two rectangular builders’ work holes on the back wall?
☐ Yes ☐ No ☐ N/A
Comments: ________________________________________________
Are the builders’ work holes neat?
☐ Yes ☐ No ☐ N/A
Comments: ________________________________________________
Finishes and protection
Is mastic applied neatly and continuously to seal gaps and joints between the concrete floor and wall panels?
☐ Yes ☐ No ☐ N/A
Comments: ________________________________________________
Manufacturer compliance
Is the installation compliant with British Gypsum (BG) specifications and guidance in that the screws and sealant are BG?
☐ Yes ☐ No ☐ N/A
Comments: ________________________________________________
Overall Assessment
Overall quality of work:
☐ Pass ☐ Fail ☐ Requires Remedial Work
Summary Comments:
Inspector Signature: ________________________________
Date: ________________________________

## Slide 7
Developing Experts Copyright 2026 All Rights Reserved
VWE: Morgan Sindall Construction – Day 3
Handout 3 – Inspecting work on site Answers
Quality inspection form
Project name: 17 Columbus Courtyard
Inspector name: Name of pupil or Shayne Marples
Area/room inspected: Level 9
Stud and framing
Are studs set out at the correct centres of 2cm (with 10mm flexibility)?
☐ Yes ☐ No ☐ N/A
Comments: ________________________________________________
Fixings and materials
Is the correct fixing type (BG 41mm Jack-Point screws) used?
☐ Yes ☐ No ☐ N/A
Comments: ________________________________________________
Are the correct screws properly and securely installed?
☐ Yes ☐ No ☐ N/A
Comments: ________________________________________________
Do the installed fixing centres comply with the specified spacing requirements of 35cm?
☐ Yes ☐ No ☐ N/A
Comments: The fixing centres measure at 31cm meaning they are too close together and need changing.
Fire line board
Are there three fire line boards installed within one wall?
☐ Yes ☐ No ☐ N/A
Comments: ________________________________________________

## Slide 8
Developing Experts Copyright 2026 All Rights Reserved
VWE: Morgan Sindall Construction – Day 3
Handout 3 – Inspecting work on site Answers
Services and openings
Are there two square and two rectangular builders’ work holes on the back wall?
☐ Yes ☐ No ☐ N/A
Comments: There are three square and only one rectangle.
Are the builders’ work holes neat?
☐ Yes ☐ No ☐ N/A
Comments: ________________________________________________
Finishes and protection
Is mastic applied neatly and continuously to seal gaps and joints between the concrete floor and wall panels?
☐ Yes ☐ No ☐ N/A
Comments: ________________________________________________
Manufacturer compliance
Is the installation compliant with British Gypsum specifications and guidance in that the screws and sealant are BG?
☐ Yes ☐ No ☐ N/A
Comments: ________________________________________________
Overall Assessment
Overall quality of work:
☐ Pass ☐ Fail ☐ Requires Remedial Work
Summary Comments:
Inspector Signature: ________________________________
Date: ________________________________